## Proposed 2017.1.17
To be included in SAM Version 2017.1.17 | Residential |  | Commercial |  | Utility
| Existing | Proposed | Existing | Proposed | Existing | Proposed
Direct Capital Costs
Module ($/Wdc) | 0.7 | 0.64 | 0.68 | 0.64 | 0.65 | 0.64
Inverter ($/Wdc) | 0.29 | 0.21 | 0.13 | 0.13 | 0.11 | 0.1
Balance of system equipment ($/Wdc) | 0.53 | 0.36 | 0.36 | 0.33 | 0.32 | 0.2
Installation labor ($/Wdc) | 0.33 | 0.3 | 0.19 | 0.19 | 0.19 | 0.15
Installer margin and overhead ($/Wdc) | 1.06 | 1.25 | 0.72 | 0.72 | 0.16 | 0.08
Contingency (% of subtotal) | 0% | 0% | 0% | 0% | 0% | 0%
Indirect Capital Costs
Permitting and environmental studies ($/Wdc) | 0.11 | 0.1 | 0 | 0.05 | 0.02 | 0.02
Engineering & developer overhead |  |  |  |  | 0.16 | 0.09
Grid interconnection ($/Wdc) |  |  |  |  | 0.03 | 0.03
Land purchase |  |  |  |  | 0.03 | 0.03
Land prep. & transmission |  |  |  |  | 0.02 | 0.02
Sales tax basis (% of direct cost) | 52% | 52% | 67% | 67% | 100% | 100%
Sales tax rate (%) | 5% | 5% | 5% | 5% | 5% | 5%
Total installed cost per capacity ($/Wdc) *Calculated | 3.0957 | 2.9318 | 2.1497 | 2.1273 | 1.7615 | 1.4185
Battery Costs (NEW)
Battery bank (S/kWh DC) | 600 | 500 | 600 | 500 | 600 | 500

## 2016.3.14
To be included in SAM Version 2016.3.14 | Residential |  | Commercial |  | Utility
| Existing | Proposed | Existing | Proposed | Existing | Proposed
Direct Capital Costs
Module ($/Wdc) | 0.70498 | 0.69667 | 0.71 | 0.68 | 0.71 | 0.65
Inverter ($/Wdc) | 0.3322 | 0.29 | 0.21 | 0.13 | 0.12 | 0.11
Balance of system equipment ($/Wdc) | 0.81673 | 0.53269 | 0.56579 | 0.363 | 0.41 | 0.32
Installation labor ($/Wdc) | 0.3 | 0.33031 | 0.15 | 0.187 | 0.24 | 0.19
Installer margin and overhead ($/Wdc) | 0.94691 | 1.0553 | 0.75 | 0.7191 | 0.17 | 0.16372
Contingency (% of subtotal) | 0% | 0% | 0% | 0% | 0% | 0%
Indirect Capital Costs
Permitting and environmental studies ($/Wdc) | 0.097136 | 0.11 | 0.057295 | 0.001 | 0.05 | 0.023768
Engineering ($/Wdc): Changed to be "Developer Overhead ($/Wdc)" |  |  |  |  | 0 | 0.16
Grid interconnection ($/Wdc) |  |  |  |  | 0.03 | 0.03
Land purchase |  |  |  |  | 0.03 | 0.03
Land preparation: Changed to be "Transmission Line ($/Wdc)" |  |  |  |  | 0.06 | 0.02
Sales tax basis (% of direct cost) | 58% | 51.68% | 81.86% | 67.24% | 100% | 100%
Sales tax rate (%) | 5% | 5% | 5% | 5% | 5% | 5%
Total installed cost per capacity ($/Wdc) *Calculated | 3.2879 | 3.09 | 2.5407 | 2.15 | 1.9025 | 1.7692

## 2014.11.24
SAM Version 2014.11.24 | Residential | Commercial | Utility
Direct Capital Costs
Module ($/Wdc) | 0.70498 | 0.71 | 0.71
Inverter ($/Wac) *going to change to $/Wdc | 0.3322 | 0.21 | 0.12
Balance of system equipment ($/Wdc) | 0.81673 | 0.56579 | 0.41
Installation labor ($/Wdc) | 0.3 | 0.15 | 0.24
Installer margin and overhead ($/Wdc) | 0.94691 | 0.75 | 0.17
Contingency (% of subtotal) | 0% | 0% | 0%
Indirect Capital Costs
Permitting and environmental studies ($/Wdc) | 0.097136 | 0.057295 | 0.05
Engineering ($/Wdc) |  |  | 0
Grid interconnection ($/Wdc) |  |  | 0.03
Land purchase |  |  | 0.03
Land preparation |  |  | 0.06
Sales tax basis (% of direct cost) | 58% | 81.86% | 100%
Sales tax rate (%) | 5% | 5% | 5%
Total installed cost per capacity ($/Wdc) *Calculated | 3.2879 | 2.5407 | 1.9025

## 2014.1.14
SAM Version 2014.1.14 | Residential | Commercial | Utility
Direct Capital Costs
Module ($/Wdc) | 0.72 | 0.63 | 0.63
Inverter ($/Wac) *going to change to $/Wdc | 0.41 | 0.26 | 0.18
Balance of system equipment ($/Wdc) | 0.49 | 0.63 | 0.32
Installation labor ($/Wdc) | 0.77 | 0.28 | 0.37
Installer margin and overhead ($/Wdc) | 0.91 | 0.16 | 0.23
Contingency (% of subtotal) | 0% | 0% | 0%
Indirect Capital Costs
Permitting and environmental studies ($/Wdc) | 0.12 | 0.17 | 0.01
Engineering ($/Wdc) | 0.18 | 0.18 | 0
Grid interconnection ($/Wdc) | 0 | 0.15 | 0.02
Land purchase | 0 | 0 | 0.02
Land preparation | 0 | 0 | 0.06
Sales tax basis (% of direct cost) | 100% | 100% | 100%
Sales tax rate (%) | 5% | 5% | 5%
Total installed cost per capacity ($/Wdc) *Calculated | 3.765 | 2.558 | 1.9265