## Proposed 2016.3.14
| Res/Comm |  | Utility
| Onshore |  | Onshore |  | Offshore
| Proposed | Existing | Proposed | Existing | Proposed | Existing | Utility-Scale Onshore Costs*
Total Cost ($/kW) | 6230 | 6940 | 1566 |  | 4229 | 5187 | http://www.nrel.gov/docs/fy16osti/64281.pdf
Turbine Cost ($/kW) | 4194.5956 | 4673 | 1221 | 1029 | 1952 | 1660 | Table ES1
BOS Cost ($/kW) | 2035.4044 | 2267 | 345 | 601 | 2277 | 3527 | Utility-Scale Offshore Costs*
O&M Cost ($/MWh) | ** | ** | 15 | 9 | 39 | N/A | http://www.nrel.gov/docs/fy16osti/64281.pdf
Turbine/Total (%) | 67.33% | 67% | 77.97% |  | 46.16% |  | Table ES2
| ** 10-120 $/kW | [5 empty] | Distributed (Res/Comm) Total Cost
http://energy.gov/sites/prod/files/2015/08/f25/2014-Distributed-Wind-Market-Report-8.7_0.pdf
Blue= calculated | [6 empty] | Exec Summary
Distributed (Res/Comm) Percentage of Turbine/Total
http://www.energy.gov/sites/prod/files/2014/09/f18/2013%20Distributed%20Wind%20Market%20Report.pdf
*"Market price adjustors" in the table are ignored per Chris Mone and Tyler Stehly 3/7/16
this is because in the paper they are assumed to be applied to financing costs.
**Commercial uses residential Turbine/BOS costs and utility O&M costs
Note on B2: NREL: http://energy.gov/sites/prod/files/2015/08/f25/2014-Distributed-Wind-Market-Report-8.7_0.pdf
Note on D2: NREL: http://www.nrel.gov/docs/fy16osti/64281.pdf 2014 COE Review Table ES1. Don't include financial costs because those numbers are handled in SAM's financial models!
Note on F2: NREL: http://www.nrel.gov/docs/fy16osti/64281.pdf Table ES2. Don't include financing costs because those are handled in SAM's financial models!
Note on E6: NREL: This was incorrectly including financing costs previously
Note on F7: NREL: No way currently to include it in defaults, but have it as reference just in case
Note on B8: NREL: Percentage calculated using Table 2 in 2013 Distributed Wind Market Report where turbine = turbine + tower to be consistent with utility-scale. This table was not recreated in 2014 Distributed wind Market Report

## 2014.11.24
| Res/Comm | Utility
| Onshore | Onshore | Offshore
Total Cost ($/kW) | 6940 | 1630 | 5187
Turbine Cost ($/kW) | 4673 | 1029 | 1660
BOS Cost ($/kW) | 2267 | 601 | 3527
O&M Cost ($/MWh) | 9 | 9 | 9 | Residential Breakdown:
Turbine = turbine + tower in Table 2
BOS = everything else in Table 2
to be consistent with utility-scale

## 2014.1.14
Wind Power Default Costs in SAM
| Residential/Commercial/Commercial PPA |  | IPP/Single Owner/All Equity Partnership/Leveraged Partnership Flip/Sale Leaseback
| Current (2010) | Proposed -2012 Report | Current (2010) | 2011 Report | Proposed- Scaled to 2012 Report
Fixed Annual Cost ($/yr) | 0 |  | 0
Fixed Annual Cost Escalation (%) | 0 |  | 0
Fossil Fuel Cost ($/MMBTU) | 0 |  | 0
Fossil Fuel Cost Escalation (%) | 0 |  | 0
O&M Fixed Cost by Capacity ($/kW-yr) | 50 | 90 | 50 |  | 90 | <- Wind Technologies Market Report suggests O&M for turbines built in 2000s is closer to $90/kW-yr ($10/MWh)
Fixed Cost per Capacity Escalation (%) | 0 |  | 0
Variable Cost by Generation ($/MWh) | 0 |  | 0
Variable Cost by Generation Escalation (%) | 0 |  | 0
Contingency Cost (%) | 8 | 8 | 0
Fixed Elec Infrastructure Cost ($) | 0 |  | 0
Elec Infrastructure Cost per kW ($/kW) | 0 |  | 154 | 152 | 144.7619
Elec Infrastructure Cost per Turbine ($/turbine) | 0 |  | 0 |  | 0
EPC Cost per kW ($/kW) | 0 |  | 24 | 50 | 47.619
Fixed Foundation Cost ($) | 0 |  | 0 |  | 0
Foundation Cost per kW ($/kW) | 0 |  | 57 | 68 | 64.7619
Foundation Cost per Turbine ($/turbine) | 0 |  | 0 |  | 0
Fixed Installation Cost ($) | 0 |  | 0 |  | 0
Installation Cost per kW ($/kW) | 0 |  | 184 | 164 | 156.1905
Installation Cost % of Direct (%) | 0 |  | 0 |  | 0
Project, Land, Misc. Cost per kW ($/kW) | 0 |  | 462 | 317 | 301.9048
Fixed Ports and Staging Cost ($) | 0 |  | 0 |  | 0
Ports and Staging Cost per kW ($/kW) | 0 |  | 0 |  | 0
Ports and Staging % of Direct (%) | 0 |  | 0 |  | 0
Turbine Cost per kW ($/kW) | 2600 | See below | 1212 | 1286 | 1224.7619
Fixed Cost per Turbine ($) | 0 |  | 0 |  | 0
TOTAL ($/kW) |  |  | 2093 | 2037 | 1940
| util-> | 2540
| mid-sized-> | 2810
| small-> | 6960
*Numbers from 2012 Distributed Wind Tech Market Report
Note on F4: NREL: 2012 Scaled numbers are 2011 cost buckets scaled to equal the 2012 total
Note on E30: NREL: cost buckets from 2011 Cost of Wind Energy Review Note that the total is slightly different than in the report we believe due to rounding issues
Note on F30: NREL: capacity-weighted avg, 2012 Wind Technologies Market Report