## General Notes
Workbook Structure
The following sheets contain calculations of the cost of energy calculations as implemented by the System Advisor Model. All currencies have been converted to Rupees or Lakh. Where the CERC calculation diverges substantially from SAM, CERC compliant calculations have also been offered so users can switch between them.
The sheets are organized as follows:
1. Assumptions: Assumptions used in the tariff determination by CERC: Values are populated from the SAM Wizard
2. Calculations: Basic calculations of LCOE according to SAM Implementation of CERC guidelines
3. Term Loan: Calculation of term loan payments - These are displayed both according to the CERC guidelines and according toSAM calculations
4. Working capital: Calculation of interest on working capital - These are calculated according to SAM calculations, but with maintenance spare displayed

## Results Summary
Output | Unit | Value
Levellized Cost of Electricity Generation (LCOE) | Rs/kWh
Net Present Value (NPV) | Rs
Internal Rate of Return (IRR) | %
Year IRR is Achieved
Minimum Debt Service Coverage Ratio (DSCR)

## Assumptions
Description | Unit | Value
Generation | kWh | 1665953
Installed Capacity | MW | 1
Aux Consumption | % | 0
CUF | % | 0.19
Useful Life | Years | 25
Capital Cost/MW | Rs Lakh/MW | 530.02
Project Life | years | 25
Debt | % | 70
Equity | % | 30
Total Debt | Rs Lac | 371.014
Total Equity | Rs Lac | 159.006
Loan amount | Rs Lac | 371.014
Moratorium | years | 0
Repayment Period | years | 12
Interest Rate | % | 12.76
Equity w/ receivables | RsLac | 175.3881
Equity w/o receivables | RsLac | 159.006
ROE 10 years | % | 20
ROE 11th year on | % | 24
Discount Rate | % | 10.7
Income Tax | % | 33.99
MAT | % | 20
80IA Benefits |  | Yes
Depreciation 1st 12 years | % | 5.83
Depreciation 13th year on | % | 1.54
O&M | Months | 1
Maintenance Spare | % | 15
Receivables | Months | 2.1
Interest on Working Capital | % | 13.26
O&M | Rs Lakh/MW | 7
Acceleration | % | 5.72
Assumed Tariff | Rs/kWh | 5.69

## Calculations
|  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
Levellized Cost of Generation (COG) |  | Levellized Costs
O&M | Rs/kWh | 0.66991 | 0.42018 | 0.44421 | 0.46962 | 0.49649 | 0.52488 | 0.55491 | 0.58665 | 0.62021 | 0.65568 | 0.69319 | 0.73284 | 0.77475 | 0.81907 | 0.86592 | 0.91545 | 0.96782 | 1.0232 | 1.0817 | 1.1436 | 1.209 | 1.2781 | 1.3512 | 1.4285 | 1.5103 | 1.5966
Depreciation | Rs/kWh | 1.5814 | 1.9121 | 1.9121 | 1.9121 | 1.9121 | 1.9121 | 1.9121 | 1.9121 | 1.9121 | 1.9121 | 1.9121 | 1.9121 | 1.9121 | 0.50509 | 0.50509 | 0.50509 | 0.50509 | 0.50509 | 0.50509 | 0.50509 | 0.50509 | 0.50509 | 0.50509 | 0.50509 | 0.50509 | 0.50509
Interest on Term Loan | Rs/kWh | 1.3916 | 2.8417 | 2.6049 | 2.3681 | 2.1313 | 1.8945 | 1.6577 | 1.4208 | 1.184 | 0.94723 | 0.71042 | 0.47362 | 0.23681 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Interest on Working Capital | Rs/kWh | 0.13315 | 0.13039 | 0.13066 | 0.13094 | 0.13124 | 0.13155 | 0.13188 | 0.13223 | 0.1326 | 0.13299 | 0.13341 | 0.13385 | 0.13431 | 0.1348 | 0.13532 | 0.13586 | 0.13644 | 0.13706 | 0.1377 | 0.13839 | 0.13911 | 0.13987 | 0.14068 | 0.14153 | 0.14244 | 0.14339
Return on Equity | Rs/kWh | 2.0262 | 1.9089 | 1.9089 | 1.9089 | 1.9089 | 1.9089 | 1.9089 | 1.9089 | 1.9089 | 1.9089 | 1.9089 | 2.2907 | 2.2907 | 2.2907 | 2.2907 | 2.2907 | 2.2907 | 2.2907 | 2.2907 | 2.2907 | 2.2907 | 2.2907 | 2.2907 | 2.2907 | 2.2907 | 2.2907
Total Cost of Electricity Generation | Rs/kWh | 5.8023 | 7.2133 | 7.0008 | 6.7897 | 6.58 | 6.3719 | 6.1655 | 5.9608 | 5.7579 | 5.5569 | 5.358 | 5.5431 | 5.3487 | 3.7496 | 3.797 | 3.8471 | 3.9 | 3.956 | 4.0152 | 4.0777 | 4.1439 | 4.2138 | 4.2877 | 4.3658 | 4.4484 | 4.5358
Generation
Installed Capacity | MW | bar: 1 to 25
Gross Generation | MU |  | 1.6644 | 1.6644 | 1.6644 | 1.6644 | 1.6644 | 1.6644 | 1.6644 | 1.6644 | 1.6644 | 1.6644 | 1.6644 | 1.6644 | 1.6644 | 1.6644 | 1.6644 | 1.6644 | 1.6644 | 1.6644 | 1.6644 | 1.6644 | 1.6644 | 1.6644 | 1.6644 | 1.6644 | 1.6644
Aux consumption | MU |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Net generation | MU |  | 1.6644 | 1.6644 | 1.6644 | 1.6644 | 1.6644 | 1.6644 | 1.6644 | 1.6644 | 1.6644 | 1.6644 | 1.6644 | 1.6644 | 1.6644 | 1.6644 | 1.6644 | 1.6644 | 1.6644 | 1.6644 | 1.6644 | 1.6644 | 1.6644 | 1.6644 | 1.6644 | 1.6644 | 1.6644
Net Gen | kWh |  | 1665953 | 1665953 | 1665953 | 1665953 | 1665953 | 1665953 | 1665953 | 1665953 | 1665953 | 1665953 | 1665953 | 1665953 | 1665953 | 1665953 | 1665953 | 1665953 | 1665953 | 1665953 | 1665953 | 1665953 | 1665953 | 1665953 | 1665953 | 1665953 | 1665953
Fixed Costs
O&M | Rs Lakh |  | 7 | 7.4004 | 7.8237 | 8.2712 | 8.7443 | 9.2445 | 9.7733 | 10.3323 | 10.9233 | 11.5482 | 12.2087 | 12.907 | 13.6453 | 14.4258 | 15.251 | 16.1234 | 17.0456 | 18.0206 | 19.0514 | 20.1411 | 21.2932 | 22.5112 | 23.7988 | 25.1601 | 26.5993
Depreciation | Rs Lakh |  | 31.8552 | 31.8552 | 31.8552 | 31.8552 | 31.8552 | 31.8552 | 31.8552 | 31.8552 | 31.8552 | 31.8552 | 31.8552 | 31.8552 | 8.4146 | 8.4146 | 8.4146 | 8.4146 | 8.4146 | 8.4146 | 8.4146 | 8.4146 | 8.4146 | 8.4146 | 8.4146 | 8.4146 | 8.4146
Interest on Term Loan | Rs Lakh |  | 47.3414 | 43.3963 | 39.4512 | 35.506 | 31.5609 | 27.6158 | 23.6707 | 19.7256 | 15.7805 | 11.8353 | 7.8902 | 3.9451 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Interest on Working Capital | Rs Lakh |  | 2.1723 | 2.1767 | 2.1814 | 2.1863 | 2.1915 | 2.1971 | 2.2029 | 2.2091 | 2.2156 | 2.2225 | 2.2298 | 2.2375 | 2.2457 | 2.2543 | 2.2634 | 2.2731 | 2.2833 | 2.294 | 2.3054 | 2.3175 | 2.3302 | 2.3437 | 2.3579 | 2.3729 | 2.3888
Return on Equity | Rs Lakh |  | 31.8012 | 31.8012 | 31.8012 | 31.8012 | 31.8012 | 31.8012 | 31.8012 | 31.8012 | 31.8012 | 31.8012 | 38.1614 | 38.1614 | 38.1614 | 38.1614 | 38.1614 | 38.1614 | 38.1614 | 38.1614 | 38.1614 | 38.1614 | 38.1614 | 38.1614 | 38.1614 | 38.1614 | 38.1614
Total Fixed Costs | Rs Lakh |  | 120.1701 | 116.6298 | 113.1127 | 109.62 | 106.1532 | 102.7138 | 99.3033 | 95.9234 | 92.5759 | 89.2625 | 92.3454 | 89.1064 | 62.4671 | 63.2562 | 64.0905 | 64.9725 | 65.9049 | 66.8907 | 67.9329 | 69.0346 | 70.1995 | 71.4309 | 72.7327 | 74.1091 | 75.5641
Additional Components
Annuity Factor |  | 8.6097 | 0.90334 | 0.81603 | 0.73715 | 0.6659 | 0.60154 | 0.54339 | 0.49087 | 0.44342 | 0.40056 | 0.36185 | 0.32687 | 0.29528 | 0.26674 | 0.24095 | 0.21766 | 0.19662 | 0.17762 | 0.16045 | 0.14494 | 0.13093 | 0.11828 | 0.10684 | 0.096517 | 0.087188 | 0.078761

## Term Loan
| Monthly Compunding | [12 empty] | Annual Compunding
Principal
MO/Yr | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | Yrs | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13
1 | 371.014 | 340.0962 | 309.1783 | 278.2605 | 247.3427 | 216.4248 | 185.507 | 154.5892 | 123.6713 | 92.7535 | 61.8357 | 30.9178 | Beginning Principal Balance | 371.014 | 340.0962 | 309.1783 | 278.2605 | 247.3427 | 216.4248 | 185.507 | 154.5892 | 123.6713 | 92.7535 | 61.8357 | 30.9178 | 0
2 | 368.4375 | 337.5197 | 306.6018 | 275.684 | 244.7662 | 213.8483 | 182.9305 | 152.0127 | 121.0948 | 90.177 | 59.2592 | 28.3413 | Interest Payment | 47.3414 | 43.3963 | 39.4512 | 35.506 | 31.5609 | 27.6158 | 23.6707 | 19.7256 | 15.7805 | 11.8353 | 7.8902 | 3.9451
3 | 365.861 | 334.9432 | 304.0254 | 273.1075 | 242.1897 | 211.2719 | 180.354 | 149.4362 | 118.5184 | 87.6005 | 56.6827 | 25.7649 | Principal Payment | 30.9178 | 30.9178 | 30.9178 | 30.9178 | 30.9178 | 30.9178 | 30.9178 | 30.9178 | 30.9178 | 30.9178 | 30.9178 | 30.9178
4 | 363.2845 | 332.3667 | 301.4489 | 270.531 | 239.6132 | 208.6954 | 177.7775 | 146.8597 | 115.9419 | 85.024 | 54.1062 | 23.1884 | Total Payment | 78.2592 | 74.3141 | 70.369 | 66.4239 | 62.4788 | 58.5336 | 54.5885 | 50.6434 | 46.6983 | 42.7532 | 38.8081 | 34.8629
5 | 360.7081 | 329.7902 | 298.8724 | 267.9546 | 237.0367 | 206.1189 | 175.2011 | 144.2832 | 113.3654 | 82.4476 | 51.5297 | 20.6119
6 | 358.1316 | 327.2137 | 296.2959 | 265.3781 | 234.4602 | 203.5424 | 172.6246 | 141.7067 | 110.7889 | 79.8711 | 48.9532 | 18.0354
7 | 355.5551 | 324.6372 | 293.7194 | 262.8016 | 231.8837 | 200.9659 | 170.0481 | 139.1302 | 108.2124 | 77.2946 | 46.3767 | 15.4589
8 | 352.9786 | 322.0608 | 291.1429 | 260.2251 | 229.3073 | 198.3894 | 167.4716 | 136.5538 | 105.6359 | 74.7181 | 43.8003 | 12.8824
9 | 350.4021 | 319.4843 | 288.5664 | 257.6486 | 226.7308 | 195.8129 | 164.8951 | 133.9773 | 103.0594 | 72.1416 | 41.2238 | 10.3059
10 | 347.8256 | 316.9078 | 285.99 | 255.0721 | 224.1543 | 193.2365 | 162.3186 | 131.4008 | 100.483 | 69.5651 | 38.6473 | 7.7295
11 | 345.2491 | 314.3313 | 283.4135 | 252.4956 | 221.5778 | 190.66 | 159.7421 | 128.8243 | 97.9065 | 66.9886 | 36.0708 | 5.153
12 | 342.6727 | 311.7548 | 280.837 | 249.9192 | 219.0013 | 188.0835 | 157.1657 | 126.2478 | 95.33 | 64.4122 | 33.4943 | 2.5765
Interest Accrued on Principal
1 | 3.9451 | 3.6164 | 3.2876 | 2.9588 | 2.6301 | 2.3013 | 1.9726 | 1.6438 | 1.315 | 0.98628 | 0.65752 | 0.32876
2 | 3.9177 | 3.589 | 3.2602 | 2.9314 | 2.6027 | 2.2739 | 1.9452 | 1.6164 | 1.2876 | 0.95888 | 0.63012 | 0.30136
3 | 3.8903 | 3.5616 | 3.2328 | 2.904 | 2.5753 | 2.2465 | 1.9178 | 1.589 | 1.2602 | 0.93149 | 0.60273 | 0.27397
4 | 3.8629 | 3.5342 | 3.2054 | 2.8766 | 2.5479 | 2.2191 | 1.8904 | 1.5616 | 1.2328 | 0.90409 | 0.57533 | 0.24657
5 | 3.8355 | 3.5068 | 3.178 | 2.8493 | 2.5205 | 2.1917 | 1.863 | 1.5342 | 1.2055 | 0.87669 | 0.54793 | 0.21917
6 | 3.8081 | 3.4794 | 3.1506 | 2.8219 | 2.4931 | 2.1643 | 1.8356 | 1.5068 | 1.1781 | 0.8493 | 0.52054 | 0.19178
7 | 3.7807 | 3.452 | 3.1232 | 2.7945 | 2.4657 | 2.1369 | 1.8082 | 1.4794 | 1.1507 | 0.8219 | 0.49314 | 0.16438
8 | 3.7533 | 3.4246 | 3.0958 | 2.7671 | 2.4383 | 2.1095 | 1.7808 | 1.452 | 1.1233 | 0.7945 | 0.46574 | 0.13698
9 | 3.7259 | 3.3972 | 3.0684 | 2.7397 | 2.4109 | 2.0821 | 1.7534 | 1.4246 | 1.0959 | 0.76711 | 0.43835 | 0.10959
10 | 3.6985 | 3.3698 | 3.041 | 2.7123 | 2.3835 | 2.0547 | 1.726 | 1.3972 | 1.0685 | 0.73971 | 0.41095 | 0.08219
11 | 3.6711 | 3.3424 | 3.0136 | 2.6849 | 2.3561 | 2.0274 | 1.6986 | 1.3698 | 1.0411 | 0.71231 | 0.38355 | 0.054793
12 | 3.6438 | 3.315 | 2.9862 | 2.6575 | 2.3287 | 2 | 1.6712 | 1.3424 | 1.0137 | 0.68492 | 0.35616 | 0.027397
Annual Interest | 45.5332 | 41.5881 | 37.643 | 33.6979 | 29.7527 | 25.8076 | 21.8625 | 17.9174 | 13.9723 | 10.0272 | 6.0821 | 2.1369
TOTAL PAYMENT
1 | 6.5216 | 6.1928 | 5.8641 | 5.5353 | 5.2066 | 4.8778 | 4.549 | 4.2203 | 3.8915 | 3.5628 | 3.234 | 2.9052
2 | 6.4942 | 6.1654 | 5.8367 | 5.5079 | 5.1792 | 4.8504 | 4.5216 | 4.1929 | 3.8641 | 3.5354 | 3.2066 | 2.8778
3 | 6.4668 | 6.138 | 5.8093 | 5.4805 | 5.1518 | 4.823 | 4.4943 | 4.1655 | 3.8367 | 3.508 | 3.1792 | 2.8505
4 | 6.4394 | 6.1107 | 5.7819 | 5.4531 | 5.1244 | 4.7956 | 4.4669 | 4.1381 | 3.8093 | 3.4806 | 3.1518 | 2.8231
5 | 6.412 | 6.0833 | 5.7545 | 5.4257 | 5.097 | 4.7682 | 4.4395 | 4.1107 | 3.7819 | 3.4532 | 3.1244 | 2.7957
6 | 6.3846 | 6.0559 | 5.7271 | 5.3983 | 5.0696 | 4.7408 | 4.4121 | 4.0833 | 3.7545 | 3.4258 | 3.097 | 2.7683
7 | 6.3572 | 6.0285 | 5.6997 | 5.3709 | 5.0422 | 4.7134 | 4.3847 | 4.0559 | 3.7271 | 3.3984 | 3.0696 | 2.7409
8 | 6.3298 | 6.0011 | 5.6723 | 5.3435 | 5.0148 | 4.686 | 4.3573 | 4.0285 | 3.6997 | 3.371 | 3.0422 | 2.7135
9 | 6.3024 | 5.9737 | 5.6449 | 5.3161 | 4.9874 | 4.6586 | 4.3299 | 4.0011 | 3.6724 | 3.3436 | 3.0148 | 2.6861
10 | 6.275 | 5.9463 | 5.6175 | 5.2888 | 4.96 | 4.6312 | 4.3025 | 3.9737 | 3.645 | 3.3162 | 2.9874 | 2.6587
11 | 6.2476 | 5.9189 | 5.5901 | 5.2614 | 4.9326 | 4.6038 | 4.2751 | 3.9463 | 3.6176 | 3.2888 | 2.96 | 2.6313
12 | 6.2202 | 5.8915 | 5.5627 | 5.234 | 4.9052 | 4.5764 | 4.2477 | 3.9189 | 3.5902 | 3.2614 | 2.9326 | 2.6039

## Working Capital
Component/Yr |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
O&M for 1 month | Rs-Lakh | 0.58333 | 0.6167 | 0.65198 | 0.68927 | 0.72869 | 0.77038 | 0.81444 | 0.86103 | 0.91028 | 0.96235 | 1.0174 | 1.0756 | 1.1371 | 1.2022 | 1.2709 | 1.3436 | 1.4205 | 1.5017 | 1.5876 | 1.6784 | 1.7744 | 1.8759 | 1.9832 | 2.0967 | 2.2166
Receivables - two months charges | Rs-Lakh | 15.7988 | 15.7988 | 15.7988 | 15.7988 | 15.7988 | 15.7988 | 15.7988 | 15.7988 | 15.7988 | 15.7988 | 15.7988 | 15.7988 | 15.7988 | 15.7988 | 15.7988 | 15.7988 | 15.7988 | 15.7988 | 15.7988 | 15.7988 | 15.7988 | 15.7988 | 15.7988 | 15.7988 | 15.7988
Maintenance spare of O&M | Rs-Lakh | 0.0875 | 1.1101 | 1.1736 | 1.2407 | 1.3116 | 1.3867 | 1.466 | 1.5498 | 1.6385 | 1.7322 | 1.8313 | 1.9361 | 2.0468 | 2.1639 | 2.2876 | 2.4185 | 2.5568 | 2.7031 | 2.8577 | 3.0212 | 3.194 | 3.3767 | 3.5698 | 3.774 | 3.9899
Total Working Capital | Rs-Lakh | 16.3821 | 16.4155 | 16.4508 | 16.4881 | 16.5275 | 16.5692 | 16.6132 | 16.6598 | 16.7091 | 16.7611 | 16.8162 | 16.8744 | 16.9359 | 17.0009 | 17.0697 | 17.1424 | 17.2193 | 17.3005 | 17.3864 | 17.4772 | 17.5732 | 17.6747 | 17.782 | 17.8955 | 18.0154
Interest on Working Capital | Rs-Lakh | 2.1723 | 2.1767 | 2.1814 | 2.1863 | 2.1915 | 2.1971 | 2.2029 | 2.2091 | 2.2156 | 2.2225 | 2.2298 | 2.2375 | 2.2457 | 2.2543 | 2.2634 | 2.2731 | 2.2833 | 2.294 | 2.3054 | 2.3175 | 2.3302 | 2.3437 | 2.3579 | 2.3729 | 2.3888