## test-results
manufacturer | model | technology | celltype | vmp | imp | voc | isc | alpha_isc | beta_voc | gamma_pmp | n_ser | t_ref | parsolve_output | Notes
Shanghai Aerospace Automobile Electromechanical Co._ Ltd. | HT60-18X-435 | Mono-c-Si | mono | 34.3 | 12.68 | 40.9 | 13.69 | 6.2837 | -0.10429 | -0.373 | 120 | 25 | { msg=Could not solve, sanity check failed (-1): a < 0.05 ¦¦ a > 15.0 } | a = -17.356935449845778
LG Electronics Inc. | LG370M1K-A6 | Mono-c-Si | mono | 35.5 | 10.43 | 41.9 | 19.96 | 0.0057884 | -0.10894 | -0.344 | 60 | 25 | { msg=Could not solve, sanity check failed (-3): Io < 1e-16 ¦¦ Io > 1e-7 } | Io = 6.8586739137999419e-05
China Sunergy (Nanjing) | CSUN275-60P | Multi-c-Si | multi | 38 | 8.91 | 38 | 9.15 | 0.0044744 | -0.12551 | -0.4375 | 60 | 25 | { msg=Could not solve, sanity check failed (-3): Io < 1e-16 ¦¦ Io > 1e-7 } | Io = -7.0793391454947362e-10
Sunflare Co. | FLEX60-175W | Thin Film | cdte | 28.2 | 6.22 | 36 | 7.42 | 0.000371 | -0.10764 | -0.031 | 60 | 25 | { msg=Could not solve, sanity check failed (-33): abs((P - Pmp) / Pmp) > 0.015 } | P = 1.9960398661380105 and Pmp = -9.2559631349317831e+61
Anhui Rinengzhongtian Semiconductor Development | QJM300-72 | Mono-c-Si | mono | 36.1 | 8.31 | 44.4 | 8.31 | 0.0035023 | -0.15046 | -0.46757 | 72 | 25 | { msg=Could not solve, sanity check failed (-33): abs((P - Pmp) / Pmp) > 0.015 } | P = -9.2559631349317831e+61 and Pmp = -9.2559631349317831e+61
GCL System Integration Technology Co._ Ltd. | GCL-P6/60B260 | Multi-c-Si | multi | 30.8 | 8.44 | 37.9 | 9.09 | 0.0060903 | -0.12886 | -0.443 | 1 | 25 | { msg=Could not solve, sanity check failed (-33): abs((P - Pmp) / Pmp) > 0.015 } | P = 1.697596632377e-314#DEN and Pmp = -9.2559631349317831e+61
Upsolar | UP-M325MT | Mono-c-Si | mono | 37 | 8.78 | 39.2 | 9.2 | 0.0032384 | -0.13344 | -0.4819 | 72 | 25 | { msg=Could not solve, sanity check failed (-4): Rs < 0.001 ¦¦ Rs > 75.0 } | Rs = -0.42532315874676130
Changzhou Nesl Solartech | DJ-240P-ST15 | Multi-c-Si | multi | 34.21 | 7.18 | 39.64 | 8.32 | 0.007463 | -0.15753 | -0.4352 | 72 | 25 | { msg=Could not solve, sanity check failed (-4): Rs < 0.001 ¦¦ Rs > 75.0 } | Rs = -0.087950530809278352
Silfab Solar Inc. | SSG345M | Mono-c-Si | mono | 38.7 | 8.93 | 40.4 | 9.52 | 0.0025818 | -0.14201 | -0.4968 | 72 | 25 | { msg=Could not solve, sanity check failed (-4): Rs < 0.001 ¦¦ Rs > 75.0 } | Rs = -0.53825002825143331
Trina Solar | TSM-295DE05H(II) | Mono-c-Si | mono | 32.1 | 9.19 | 39.5 | 9.65 | 0.0029336 | -0.00553 | -0.355 | 40 | 25 | { msg=Could not solve, sanity check failed (-6): Adj < -100.0 ¦¦ Adj > 100.0 } | Adj = 758.15034203349171
REC Solar | REC260TP | Multi-c-Si | multi | 30.8 | 8.45 | 38 | 9.13 | 0.004565 | -0.0114 | -0.4 | 60 | 25 | { msg=Could not solve, sanity check failed (-6): Adj < -100.0 ¦¦ Adj > 100.0 } | Adj = 465.01616104342952
Sunny International Power | SPM-220PB203 | Multi-c-Si | multi | 26.8 | 8.22 | 33.4 | 8.25 | 0.0069052 | -0.118 | -0.442 | 54 | 25 | { msg=Could not solve, sanity check failed (-99): solver failed with unknown error }
Heliene | 60M305 | Mono-c-Si | mono | 32.51 | 9.03 | 39.49 | 9.45 | 0.0053865 | -0.12123 | -0.429 | 0 |  | { msg=fail(Nser, positive): 0 }